## LCA
Table 1: CCGT Life Cycle Analysis Emissions Rate | [8 empty] | Table 2: CCGT Life Cycle Analysis Annual Emissions
Turbine | Location | Raw Capacity Factor | Adjusted Capacity Factor | Heat Rate (BTU/ kWh) | Capacity (MW) | NOx | SO2 | CO2-eq | Turbine | Location | Capacity Factor | Heat Rate (BTU/ kWh) | Capacity (MW) | NOx | SO2 | CO2-eq
|  | (2011-2019) | (2011-2019) |  |  | (lb/MMBtu) | (lb/MMBtu) | (lb/MMBtu) |  |  | (2011-2019) |  |  | (s.t./year) | (s.t./year) | (s.t./year)
GE 7FA.05 | Houston | 26.7% | 37.08% | 6800 | 600 | 0.0228 | 0.00074 | 117 | GE 7FA.05 | Houston | 37.08% | 6800 | 600 | 149.5453 | 4853661.7686 | 82096.092
Mitsubishi 501J | Houston | 31.4% | 44.08% | 6400 | 460 | 0.0228 | 0.00074 | 117 | Mitsubishi 501J | Houston | 44.08% | 6400 | 460 | 128.2522 | 0.6504 | 74019.7224
Mitsubishi 501GAC | Houston | 34.4% | 48.17% | 6200 | 405 | 0.0228 | 0.00074 | 117 | Mitsubishi 501GAC | Houston | 48.17% | 6200 | 405 | 119.5442 | 0.6258 | 71395.9272
GE 207FA.04 | San Antonio | 10.5% | 18.58% | 8840 | 942 | 0.15 | 0.00074 | 117 | GE 207FA.04 | San Antonio | 18.58% | 8840 [2] | 942 | 1005.8505 | 0.56133 | 50687.4186
GE 207FA.04 | San Antonio | 10.5% | 18.58% | 8840 | 942 | 0.0228 | 0.00074 | 117 | GE 207FA.04 | San Antonio | 18.58% | 8840 [2] | 942 | 152.8893 | 0.56133 | 50687.4186
[5 empty] | Slide 23 |  | slide 24
Table 3: CCGT Life Cycle Analysis Water Consumption and Withdrawl [3]
Turbine | Location | Capacity Factor | Capacity (MW) | Water Consumption* |  | Water Withdrawl* | [8 empty] | Season Factors
|  | (2011-2019) |  | (gal/MWh) | (10^6 gal/year) | (gal/MWh) | (10^6 gal/year) | [7 empty] | Summer | 0.25
GE 7FA.05 | Houston | 26.7% | 600 | 200 | 280.6704 | 250 | 350.838 | [7 empty] | Non-Summer | 0.75
Mitsubishi 501J | Houston | 31.4% | 460 | 200 | 253.0589 | 250 | 316.3236
Mitsubishi 501GAC | Houston | 34.4% | 405 | 200 | 244.0886 | 250 | 305.1108 | [7 empty] | Category
GE 207FA.04 | San Antonio | 10.5% | 942 | 200 | 173.2903 | 250 | 216.6129 | [7 empty] | Rest of Year | 0.6875
* Assumed recirculating cooling (cooling towers) | [14 empty] | Summer Peak | 0.16667
[15 empty] | Summer Off-peak | 0.083333
[6 empty] | slide 38/ 39 | [8 empty] | WTC | 0.0625
Table 4: Renewables Life Cycle Analysis [4]
Development | Source | Capacity Factor | Capacity | Project Area | CO2-eq
|  |  | (MW) | (acres) | (g CO2 eq/ kWh) | (kg CO2 eq/year)
Big Sky | Solar | 0.32775 | 250 | 8000 | 55 | 39.4775
XIT Ranch | Onshore Wind | 0.49533 | 250 | 38000 | 13 | 14.1021
Lavaca | Coastal Wind | 0.484 | 200 | 20000 | 13 | 11.0236
Lavaca | Coastal Wind | 0.446 | 150 | 20000 | 13 | 7.6186

## Capacity Factors
Turbine | Raw CF | Total Capacity (MW) | Deadicated Capacity (MW) | Location | Weighted Capacity
GE 7FA.05 | 26.7% | 600 | 85 | Houston | 37.08%
Mitsubishi 501J | 31.4% | 460 | 85 | Houston | 44.08%
Mitsubishi 501GAC | 34.4% | 405 | 85 | Houston | 48.17%
GE 207FA.04 | 10.5% | 942 | 85 | San Antonio | 18.58%
GE 207FA.04 | 10.5% | 942 | 85 | San Antonio | 18.58%

## Graphing
[10 empty] | LMP |  | Marginal Price
375 | 1 | 2011 | 2011-01-04 | 24 | 4 |  | N | LZ_CPS | LZ | 19.49 | 5.66 | 48.2492 | 0
376 | 1 | 2011 | 2011-01-05 | 1 | 1 | 0:00 | N | LZ_CPS | LZ | 20.04 | 5.66 | 48.2492 | 0
377 | 1 | 2011 | 2011-01-05 | 1 | 2 | 0:15 | N | LZ_CPS | LZ | 20.19 | 5.66 | 48.2492 | 0
378 | 1 | 2011 | 2011-01-05 | 1 | 3 | 0:30 | N | LZ_CPS | LZ | 19.26 | 5.66 | 48.2492 | 0
379 | 1 | 2011 | 2011-01-05 | 1 | 4 | 0:45 | N | LZ_CPS | LZ | 19.85 | 5.66 | 48.2492 | 0
380 | 1 | 2011 | 2011-01-01 | 2 | 1 | 1:00 | N | LZ_CPS | LZ | 22.67 | 5.66 | 48.2492 | 0
381 | 1 | 2011 | 2011-01-05 | 2 | 2 | 1:15 | N | LZ_CPS | LZ | 19.87 | 5.66 | 48.2492 | 0
382 | 1 | 2011 | 2011-01-05 | 2 | 3 | 1:30 | N | LZ_CPS | LZ | 19.22 | 5.66 | 48.2492 | 0
383 | 1 | 2011 | 2011-01-05 | 2 | 4 | 1:45 | N | LZ_CPS | LZ | 18.77 | 5.66 | 48.2492 | 0
384 | 1 | 2011 | 2011-01-05 | 3 | 1 | 2:00 | N | LZ_CPS | LZ | 18.7 | 5.66 | 48.2492 | 0
385 | 1 | 2011 | 2011-01-05 | 3 | 2 | 2:15 | N | LZ_CPS | LZ | 18.44 | 5.66 | 48.2492 | 0
386 | 1 | 2011 | 2011-01-05 | 3 | 3 | 2:30 | N | LZ_CPS | LZ | 18.06 | 5.66 | 48.2492 | 0
387 | 1 | 2011 | 2011-01-05 | 3 | 4 | 2:45 | N | LZ_CPS | LZ | 18.32 | 5.66 | 48.2492 | 0
388 | 1 | 2011 | 2011-01-05 | 4 | 1 | 3:00 | N | LZ_CPS | LZ | 18.41 | 5.66 | 48.2492 | 0
389 | 1 | 2011 | 2011-01-05 | 4 | 2 | 3:15 | N | LZ_CPS | LZ | 18.73 | 5.66 | 48.2492 | 0
390 | 1 | 2011 | 2011-01-05 | 4 | 3 | 3:30 | N | LZ_CPS | LZ | 19.26 | 5.66 | 48.2492 | 0
391 | 1 | 2011 | 2011-01-05 | 4 | 4 | 3:45 | N | LZ_CPS | LZ | 19.43 | 5.66 | 48.2492 | 0
392 | 1 | 2011 | 2011-01-05 | 5 | 1 | 4:00 | N | LZ_CPS | LZ | 20.97 | 5.66 | 48.2492 | 0
393 | 1 | 2011 | 2011-01-05 | 5 | 2 | 4:15 | N | LZ_CPS | LZ | 21.21 | 5.66 | 48.2492 | 0
394 | 1 | 2011 | 2011-01-05 | 5 | 3 | 4:30 | N | LZ_CPS | LZ | 21.08 | 5.66 | 48.2492 | 0
395 | 1 | 2011 | 2011-01-05 | 5 | 4 | 4:45 | N | LZ_CPS | LZ | 21.56 | 5.66 | 48.2492 | 0
396 | 1 | 2011 | 2011-01-05 | 6 | 1 | 5:00 | N | LZ_CPS | LZ | 21.59 | 5.66 | 48.2492 | 0
397 | 1 | 2011 | 2011-01-05 | 6 | 2 | 5:15 | N | LZ_CPS | LZ | 22.33 | 5.66 | 48.2492 | 0
398 | 1 | 2011 | 2011-01-05 | 6 | 3 | 5:30 | N | LZ_CPS | LZ | 25.19 | 5.66 | 48.2492 | 0
399 | 1 | 2011 | 2011-01-05 | 6 | 4 | 5:45 | N | LZ_CPS | LZ | 25.55 | 5.66 | 48.2492 | 0
400 | 1 | 2011 | 2011-01-05 | 7 | 1 | 6:00 | N | LZ_CPS | LZ | 28.81 | 5.66 | 48.2492 | 0
401 | 1 | 2011 | 2011-01-05 | 7 | 2 | 6:15 | N | LZ_CPS | LZ | 32.91 | 5.66 | 48.2492 | 0
402 | 1 | 2011 | 2011-01-05 | 7 | 3 | 6:30 | N | LZ_CPS | LZ | 61.63 | 5.66 | 48.2492 | 1
403 | 1 | 2011 | 2011-01-05 | 7 | 4 | 6:45 | N | LZ_CPS | LZ | 1560.06 | 5.66 | 48.2492 | 1
404 | 1 | 2011 | 2011-01-05 | 8 | 1 | 7:00 | N | LZ_CPS | LZ | 753.77 | 5.66 | 48.2492 | 1
405 | 1 | 2011 | 2011-01-05 | 8 | 2 | 7:15 | N | LZ_CPS | LZ | 114.93 | 5.66 | 48.2492 | 1
406 | 1 | 2011 | 2011-01-05 | 8 | 3 | 7:30 | N | LZ_CPS | LZ | 37.15 | 5.66 | 48.2492 | 0
407 | 1 | 2011 | 2011-01-05 | 8 | 4 | 7:45 | N | LZ_CPS | LZ | 32.52 | 5.66 | 48.2492 | 0
408 | 1 | 2011 | 2011-01-05 | 9 | 1 | 8:00 | N | LZ_CPS | LZ | 31.6 | 5.66 | 48.2492 | 0
410 | 1 | 2011 | 2011-01-05 | 9 | 3 | 8:15 | N | LZ_CPS | LZ | 31.56 | 5.66 | 48.2492 | 0
411 | 1 | 2011 | 2011-01-05 | 9 | 4 | 8:30 | N | LZ_CPS | LZ | 33.73 | 5.66 | 48.2492 | 0
412 | 1 | 2011 | 2011-01-05 | 10 | 1 | 8:45 | N | LZ_CPS | LZ | 34.47 | 5.66 | 48.2492 | 0
413 | 1 | 2011 | 2011-01-05 | 10 | 2 | 9:00 | N | LZ_CPS | LZ | 35.26 | 5.66 | 48.2492 | 0
414 | 1 | 2011 | 2011-01-05 | 10 | 3 | 9:15 | N | LZ_CPS | LZ | 38.85 | 5.66 | 48.2492 | 0
415 | 1 | 2011 | 2011-01-05 | 10 | 4 | 9:30 | N | LZ_CPS | LZ | 40.36 | 5.66 | 48.2492 | 0
416 | 1 | 2011 | 2011-01-05 | 11 | 1 | 9:45 | N | LZ_CPS | LZ | 45.56 | 5.66 | 48.2492 | 0
417 | 1 | 2011 | 2011-01-05 | 11 | 2 | 10:00 | N | LZ_CPS | LZ | 57.62 | 5.66 | 48.2492 | 1
418 | 1 | 2011 | 2011-01-05 | 11 | 3 | 10:15 | N | LZ_CPS | LZ | 44.31 | 5.66 | 48.2492 | 0
419 | 1 | 2011 | 2011-01-05 | 11 | 4 | 10:30 | N | LZ_CPS | LZ | 51.72 | 5.66 | 48.2492 | 1
420 | 1 | 2011 | 2011-01-05 | 12 | 1 | 10:45 | N | LZ_CPS | LZ | 50.57 | 5.66 | 48.2492 | 1
421 | 1 | 2011 | 2011-01-05 | 12 | 2 | 11:00 | N | LZ_CPS | LZ | 44.46 | 5.66 | 48.2492 | 0
422 | 1 | 2011 | 2011-01-05 | 12 | 3 | 11:15 | N | LZ_CPS | LZ | 36.9 | 5.66 | 48.2492 | 0
423 | 1 | 2011 | 2011-01-05 | 12 | 4 | 11:30 | N | LZ_CPS | LZ | 33.97 | 5.66 | 48.2492 | 0
424 | 1 | 2011 | 2011-01-05 | 13 | 1 | 11:45 | N | LZ_CPS | LZ | 33.56 | 5.66 | 48.2492 | 0
425 | 1 | 2011 | 2011-01-05 | 13 | 2 | 12:00 | N | LZ_CPS | LZ | 33.99 | 5.66 | 48.2492 | 0
426 | 1 | 2011 | 2011-01-05 | 13 | 3 | 12:15 | N | LZ_CPS | LZ | 34 | 5.66 | 48.2492 | 0
427 | 1 | 2011 | 2011-01-05 | 13 | 4 | 12:30 | N | LZ_CPS | LZ | 31.84 | 5.66 | 48.2492 | 0
428 | 1 | 2011 | 2011-01-05 | 14 | 1 | 12:45 | N | LZ_CPS | LZ | 30.64 | 5.66 | 48.2492 | 0
429 | 1 | 2011 | 2011-01-05 | 14 | 2 | 13:00 | N | LZ_CPS | LZ | 30.69 | 5.66 | 48.2492 | 0
430 | 1 | 2011 | 2011-01-05 | 14 | 3 | 13:15 | N | LZ_CPS | LZ | 30.75 | 5.66 | 48.2492 | 0
431 | 1 | 2011 | 2011-01-05 | 14 | 4 | 13:30 | N | LZ_CPS | LZ | 30.75 | 5.66 | 48.2492 | 0
432 | 1 | 2011 | 2011-01-05 | 15 | 1 | 13:45 | N | LZ_CPS | LZ | 30.31 | 5.66 | 48.2492 | 0
14:00