## LCA
Table 1: CCGT Life Cycle Analysis Emissions Rate | [8 empty] | Table 2: CCGT Life Cycle Analysis Annual Emissions
Turbine | Location | Raw Capacity Factor | Adjusted Capacity Factor | Heat Rate (BTU/ kWh) | Capacity (MW) | NOx | SO2 | CO2-eq | Turbine | Location | Capacity Factor | Heat Rate (BTU/ kWh) | Capacity (MW) | NOx | SO2 | CO2-eq
|  | (2011-2019) | (2011-2019) |  |  | (lb/MMBtu) | (lb/MMBtu) | (lb/MMBtu) |  |  | (2011-2019) |  |  | (s.t./year) | (s.t./year) | (s.t./year)
GE 7FA.05 | Houston | 26.7% | 48.47% | 7480 | 600 | 0.0228 | 0.00074 | 117 | GE 7FA.05 | Houston | 48.47% | 6800 | 600 | 215.0055 | 6.9782 | 1103317.5663
Mitsubishi 501J | Houston | 31.4% | 59.94% | 6400 | 460 | 0.0228 | 0.00074 | 117 | Mitsubishi 501J | Houston | 59.94% | 6400 | 460 | 174.4139 | 5.6608 | 468859.1731
Mitsubishi 501GAC | Houston | 34.4% | 66.57% | 6200 | 405 | 0.0228 | 0.00074 | 117 | Mitsubishi 501GAC | Houston | 66.57% | 6200 | 405 | 165.2064 | 5.362 | 438106.9259
GE 207FA.04 | San Antonio | 10.5% | 39.46% | 8840 | 942 | 0.15 | 0.00074 | 117 | GE 207FA.04 | San Antonio | 39.46% | 8840 [2] | 942 | 2136.5034 | 10.5401 | 443473.2519
GE 207FA.04 | San Antonio | 10.5% | 39.46% | 8840 | 942 | 0.0228 | 0.00074 | 117 | GE 207FA.04 | San Antonio | 39.46% | 8840 [2] | 942 | 324.7485 | 10.5401 | 443473.2519
[5 empty] | Slide 23 |  | slide 24
Table 3: CCGT Life Cycle Analysis Water Consumption and Withdrawl [3]
Turbine | Location | Capacity Factor | Capacity (MW) | Water Consumption* |  | Water Withdrawl*
|  | (2011-2019) |  | (gal/MWh) | (10^6 gal/year) | (gal/MWh) | (10^6 gal/year)
GE 7FA.05 | Houston | 48.47% | 600 | 200 | 509.5163 | 250 | 636.8954
Mitsubishi 501J | Houston | 59.94% | 460 | 200 | 483.0714 | 250 | 603.8392
Mitsubishi 501GAC | Houston | 66.57% | 405 | 200 | 472.3298 | 250 | 590.4122
GE 207FA.04 | San Antonio | 39.46% | 942 | 200 | 651.186 | 250 | 813.9825
* Assumed recirculating cooling (cooling towers)
slide 38/ 39
Table 4: Renewables Life Cycle Analysis [4]
Development | Source | Capacity Factor | Capacity | Project Area | CO2-eq
|  |  | (MW) | (acres) | (g CO2 eq/ kWh) | (kg CO2 eq/year)
Big Sky | Solar | 32.77% | 250 | 8000 | 55 | 39.4775
XIT Ranch | Onshore Wind | 49.53% | 250 | 38000 | 13 | 14.1021
Lavaca | Coastal Wind | 48.4% | 200 | 20000 | 13 | 11.0236
Lavaca | Coastal Wind | 44.6% | 150 | 20000 | 13 | 7.6186

## LCA_Hourly
[17 empty] | slide 38/ 39 |  | Slide 23 |  | slide 24
Description | Load Zone | Source | Raw CF | Adjusted CF | Heat Rate | Adjusted Heat Rate | Capacity | Project Area | NOx | NOx | NOx | SO2 | SO2 | SO2 | CO2-eq | CO2-eq | CO2-eq | Project Area | Water Consumption* | Water Consumption* | Water Withdrawl* | Water Withdrawl*
|  |  | (2011-2019) | (2011-2019) | (BTU/ kWh) | (BTU/ kWh) | (MW) | (acres) | (lb/MMBtu) | (lb/ MWh) | (s.t./ yr) | (lb/MMBtu) | (lb/ MWh) | (s.t./ yr) | (lb/MMBtu) | (lb/ MWh) | (s.t./ yr) | (acres) | (gal/MWh) | (10^6 gal/year) | (gal/MWh) | (10^6 gal/year)
GE 7FA.05 | Houston | CCGT | 39.97% | 48.47% | 6800 | 7480 | 600 |  | 0.0228 | 0.17054 | 215.0055 | 0.00074 | 0.0055352 | 6.9782 | 117 | 875.16 | 1103317.5663 |  | 200 | 509.5163 | 250 | 636.8954
Mitsubishi 501J | Houston | CCGT | 50.86% | 59.94% | 6400 | 7040 | 460 |  | 0.0228 | 0.16051 | 191.8553 | 0.00074 | 0.0052096 | 6.2269 | 117 | 823.68 | 984520.63 |  | 200 | 483.0714 | 250 | 603.8392
Mitsubishi 501GAC | Houston | CCGT | 57.69% | 66.57% | 6200 | 6820 | 405 |  | 0.0228 | 0.1555 | 181.727 | 0.00074 | 0.0050468 | 5.8982 | 117 | 797.94 | 932546.6777 |  | 200 | 472.3298 | 250 | 590.4122
GE 207FA.04 Pre-2021 | San Antonio (CPS) | CCGT | 39.46% | 39.46% | 7760 | 8536 | 942 |  | 0.15 | 1.2804 | 2063.0309 | 0.00074 | 0.0063166 | 10.1776 | 117 | 998.712 | 1609164.0791 |  | 200 | 651.186 | 250 | 813.9825
GE 207FA.04 Post-2021 | San Antonio (CPS) | CCGT | 39.46% | 39.46% | 7760 | 8536 | 942 |  | 0.0228 | 0.19462 | 313.5807 | 0.00074 | 0.0063166 | 10.1776 | 117 | 998.712 | 1609164.0791 |  | 200 | 651.186 | 250 | 813.9825
Big Sky | West Texas | Solar | 32.77% | 32.77% |  |  | 250 | 8000 |  | 0 | 0 |  |  |  |  | 55 | 39.4775 | 8000
XIT Ranch | West Texas | Onshore Wind | 49.53% | 49.53% |  |  | 250 | 38000 |  | 0 | 0 |  |  |  |  | 13 | 14.1021 | 38000
Lavaca | South | Coastal Wind | 48.4% | 48.4% |  |  | 200 | 20000 |  | 0 | 0 |  |  |  |  | 13 | 11.0236 | 20000
Lavaca | South | Coastal Wind | 44.6% | 44.6% |  |  | 150 | 20000 |  | 0 | 0 |  |  |  |  | 13 | 7.6186 | 20000
* Assumed recirculating cooling (cooling towers)

## CF Adjustment
Turbine | Raw CF Daily | Raw CF Hourly | Total Capacity (MW) | Deadicated Capacity (MW) | Location | Weighted CF | Weighted CF
GE 7FA.05 | 39.97% | 39.97% | 600 | 85 | Houston | 48.47% | 48.47%
Mitsubishi 501J | 50.86% | 50.86% | 460 | 85 | Houston | 59.94% | 59.94%
Mitsubishi 501GAC | 57.69% | 57.69% | 405 | 85 | Houston | 66.57% | 66.57%
GE 207FA.04 | 39.46% | 39.46% | 942 | 0 | San Antonio | 39.46% | 39.46%
GE 207FA.04 | 39.46% | 39.46% | 942 | 0 | San Antonio | 39.46% | 39.46%
Season Factors
Summer | 0.25
Non-Summer | 0.75
Category
Rest of Year | 0.6875
Summer Peak | 0.16667
Summer Off-peak | 0.083333
WTC | 0.0625

## Marginal Costs
month | Year | Date | 7FA05 | 501J | 501GAC | NG_Price
1 | 2011 | 2011-01-01 | 37.1148 | 34.9315 | 33.8399 | 5.66
2 | 2011 | 2011-02-01 | 37.8361 | 35.6104 | 34.4976 | 5.77
3 | 2011 | 2011-03-01 | 34.1639 | 32.1543 | 31.1495 | 5.21
4 | 2011 | 2011-04-01 | 35.0164 | 32.9566 | 31.9267 | 5.34
5 | 2011 | 2011-05-01 | 34.1639 | 32.1543 | 31.1495 | 5.21
6 | 2011 | 2011-06-01 | 34.1639 | 32.1543 | 31.1495 | 5.21
7 | 2011 | 2011-07-01 | 33.1148 | 31.1668 | 30.1929 | 5.05
8 | 2011 | 2011-08-01 | 34.1639 | 32.1543 | 31.1495 | 5.21
9 | 2011 | 2011-09-01 | 31.7377 | 29.8708 | 28.9373 | 4.84
10 | 2011 | 2011-10-01 | 30.8852 | 29.0685 | 28.1601 | 4.71
11 | 2011 | 2011-11-01 | 30.4262 | 28.6365 | 27.7416 | 4.64
12 | 2011 | 2011-12-01 | 30.0984 | 28.3279 | 27.4426 | 4.59
1 | 2012 | 2012-01-01 | 30.0328 | 28.2662 | 27.3828 | 4.58
2 | 2012 | 2012-02-01 | 27.4754 | 25.8592 | 25.0511 | 4.19
3 | 2012 | 2012-03-01 | 24.3279 | 22.8968 | 22.1813 | 3.71
4 | 2012 | 2012-04-01 | 21.0492 | 19.811 | 19.1919 | 3.21
5 | 2012 | 2012-05-01 | 19.8033 | 18.6384 | 18.0559 | 3.02
6 | 2012 | 2012-06-01 | 21.9016 | 20.6133 | 19.9691 | 3.34
7 | 2012 | 2012-07-01 | 23.6066 | 22.2179 | 21.5236 | 3.6
8 | 2012 | 2012-08-01 | 25.1148 | 23.6374 | 22.8987 | 3.83
9 | 2012 | 2012-09-01 | 23.3443 | 21.9711 | 21.2845 | 3.56
10 | 2012 | 2012-10-01 | 25.8361 | 24.3163 | 23.5564 | 3.94
11 | 2012 | 2012-11-01 | 29.2459 | 27.5256 | 26.6654 | 4.46
12 | 2012 | 2012-12-01 | 31.0164 | 29.1919 | 28.2797 | 4.73
1 | 2013 | 2013-01-01 | 30.0328 | 28.2662 | 27.3828 | 4.58
2 | 2013 | 2013-02-01 | 29.7705 | 28.0193 | 27.1437 | 4.54
3 | 2013 | 2013-03-01 | 30.0984 | 28.3279 | 27.4426 | 4.59
4 | 2013 | 2013-04-01 | 32.459 | 30.5497 | 29.595 | 4.95
5 | 2013 | 2013-05-01 | 32.7869 | 30.8582 | 29.8939 | 5
6 | 2013 | 2013-06-01 | 32.1311 | 30.2411 | 29.296 | 4.9
7 | 2013 | 2013-07-01 | 29.3115 | 27.5873 | 26.7252 | 4.47
8 | 2013 | 2013-08-01 | 28.2623 | 26.5998 | 25.7686 | 4.31
9 | 2013 | 2013-09-01 | 28.5902 | 26.9084 | 26.0675 | 4.36
10 | 2013 | 2013-10-01 | 28.5902 | 26.9084 | 26.0675 | 4.36
11 | 2013 | 2013-11-01 | 30.2951 | 28.513 | 27.622 | 4.62
12 | 2013 | 2013-12-01 | 32.5902 | 30.6731 | 29.7146 | 4.97
1 | 2014 | 2014-01-01 | 37.3115 | 35.1167 | 34.0193 | 5.69
2 | 2014 | 2014-02-01 | 43.4754 | 40.918 | 39.6393 | 6.63
3 | 2014 | 2014-03-01 | 42.4262 | 39.9306 | 38.6827 | 6.47
4 | 2014 | 2014-04-01 | 38.3607 | 36.1041 | 34.9759 | 5.85
5 | 2014 | 2014-05-01 | 37.6393 | 35.4253 | 34.3182 | 5.74
6 | 2014 | 2014-06-01 | 35.8033 | 33.6972 | 32.6442 | 5.46
7 | 2014 | 2014-07-01 | 35.6066 | 33.5121 | 32.4648 | 5.43
8 | 2014 | 2014-08-01 | 32.5246 | 30.6114 | 29.6548 | 4.96
9 | 2014 | 2014-09-01 | 32.918 | 30.9817 | 30.0135 | 5.02
10 | 2014 | 2014-10-01 | 32.9836 | 31.0434 | 30.0733 | 5.03
11 | 2014 | 2014-11-01 | 32.918 | 30.9817 | 30.0135 | 5.02
12 | 2014 | 2014-12-01 | 36.8525 | 34.6847 | 33.6008 | 5.62
1 | 2015 | 2015-01-01 | 32.1311 | 30.2411 | 29.296 | 4.9
2 | 2015 | 2015-02-01 | 31.082 | 29.2536 | 28.3394 | 4.74
3 | 2015 | 2015-03-01 | 29.2459 | 27.5256 | 26.6654 | 4.46
4 | 2015 | 2015-04-01 | 25.9672 | 24.4397 | 23.676 | 3.96
5 | 2015 | 2015-05-01 | 23.4754 | 22.0945 | 21.4041 | 3.58
6 | 2015 | 2015-06-01 | 24.6557 | 23.2054 | 22.4802 | 3.76
7 | 2015 | 2015-07-01 | 24.5246 | 23.082 | 22.3607 | 3.74
8 | 2015 | 2015-08-01 | 24.8525 | 23.3905 | 22.6596 | 3.79
9 | 2015 | 2015-09-01 | 23.9344 | 22.5265 | 21.8226 | 3.65
10 | 2015 | 2015-10-01 | 23.2131 | 21.8476 | 21.1649 | 3.54
11 | 2015 | 2015-11-01 | 21.5082 | 20.243 | 19.6104 | 3.28
12 | 2015 | 2015-12-01 | 22.8197 | 21.4773 | 20.8062 | 3.48
1 | 2016 | 2016-01-01 | 23.7377 | 22.3414 | 21.6432 | 3.62
2 | 2016 | 2016-02-01 | 23.4754 | 22.0945 | 21.4041 | 3.58
3 | 2016 | 2016-03-01 | 19.8033 | 18.6384 | 18.0559 | 3.02
4 | 2016 | 2016-04-01 | 19.6721 | 18.5149 | 17.9364 | 3
5 | 2016 | 2016-05-01 | 19.0164 | 17.8978 | 17.3385 | 2.9
6 | 2016 | 2016-06-01 | 18.9508 | 17.8361 | 17.2787 | 2.89
7 | 2016 | 2016-07-01 | 23.4098 | 22.0328 | 21.3443 | 3.57
8 | 2016 | 2016-08-01 | 23.541 | 22.1562 | 21.4638 | 3.59
9 | 2016 | 2016-09-01 | 24.5246 | 23.082 | 22.3607 | 3.74
10 | 2016 | 2016-10-01 | 25.377 | 23.8843 | 23.1379 | 3.87
11 | 2016 | 2016-11-01 | 25.3115 | 23.8226 | 23.0781 | 3.86
12 | 2016 | 2016-12-01 | 28 | 26.3529 | 25.5294 | 4.27
1 | 2017 | 2017-01-01 | 31.8033 | 29.9325 | 28.9971 | 4.85
2 | 2017 | 2017-02-01 | 29.7049 | 27.9576 | 27.0839 | 4.53
3 | 2017 | 2017-03-01 | 25.7049 | 24.1929 | 23.4368 | 3.92
4 | 2017 | 2017-04-01 | 26.9508 | 25.3655 | 24.5728 | 4.11
5 | 2017 | 2017-05-01 | 26.3607 | 24.81 | 24.0347 | 4.02
6 | 2017 | 2017-06-01 | 26.5574 | 24.9952 | 24.2141 | 4.05
7 | 2017 | 2017-07-01 | 25.7049 | 24.1929 | 23.4368 | 3.92
8 | 2017 | 2017-08-01 | 24.7869 | 23.3288 | 22.5998 | 3.78
9 | 2017 | 2017-09-01 | 25.1148 | 23.6374 | 22.8987 | 3.83
10 | 2017 | 2017-10-01 | 24.7869 | 23.3288 | 22.5998 | 3.78
11 | 2017 | 2017-11-01 | 25.1803 | 23.6991 | 22.9585 | 3.84
12 | 2017 | 2017-12-01 | 27.4754 | 25.8592 | 25.0511 | 4.19
1 | 2018 | 2018-01-01 | 29.2459 | 27.5256 | 26.6654 | 4.46
2 | 2018 | 2018-02-01 | 31.8033 | 29.9325 | 28.9971 | 4.85
3 | 2018 | 2018-03-01 | 26.2295 | 24.6866 | 23.9151 | 4
4 | 2018 | 2018-04-01 | 25.5082 | 24.0077 | 23.2575 | 3.89
5 | 2018 | 2018-05-01 | 24.918 | 23.4523 | 22.7194 | 3.8
6 | 2018 | 2018-06-01 | 24.7213 | 23.2671 | 22.54 | 3.77
7 | 2018 | 2018-07-01 | 24.5902 | 23.1437 | 22.4204 | 3.75
8 | 2018 | 2018-08-01 | 24.0656 | 22.65 | 21.9421 | 3.67
9 | 2018 | 2018-09-01 | 24.5902 | 23.1437 | 22.4204 | 3.75
10 | 2018 | 2018-10-01 | 26.4262 | 24.8717 | 24.0945 | 4.03
11 | 2018 | 2018-11-01 | 29.5738 | 27.8341 | 26.9643 | 4.51
12 | 2018 | 2018-12-01 | 35.8689 | 33.7589 | 32.704 | 5.47
1 | 2019 | 2019-01-01 | 32.918 | 30.9817 | 30.0135 | 5.02
2 | 2019 | 2019-02-01 | 30.2951 | 28.513 | 27.622 | 4.62
3 | 2019 | 2019-03-01 | 28.2623 | 26.5998 | 25.7686 | 4.31
4 | 2019 | 2019-04-01 | 26.1639 | 24.6249 | 23.8554 | 3.99
5 | 2019 | 2019-05-01 | 23.8689 | 22.4648 | 21.7628 | 3.64
6 | 2019 | 2019-06-01 | 23.2131 | 21.8476 | 21.1649 | 3.54
7 | 2019 | 2019-07-01 | 21.9016 | 20.6133 | 19.9691 | 3.34
8 | 2019 | 2019-08-01 | 20.9836 | 19.7493 | 19.1321 | 3.2
9 | 2019 | 2019-09-01 | 21.9016 | 20.6133 | 19.9691 | 3.34
10 | 2019 | 2019-10-01 | 22.4262 | 21.107 | 20.4474 | 3.42
11 | 2019 | 2019-11-01 | 25.3115 | 23.8226 | 23.0781 | 3.86
12 | 2019 | 2019-12-01 | 25.4426 | 23.946 | 23.1977 | 3.88

## Graphing
[10 empty] | LMP |  | Marginal Price
375 | 1 | 2011 | 2011-01-04 | 24 | 4 |  | N | LZ_CPS | LZ | 19.49 | 5.66 | 48.2492 | 0
376 | 1 | 2011 | 2011-01-05 | 1 | 1 | 0:00 | N | LZ_CPS | LZ | 20.04 | 5.66 | 48.2492 | 0
377 | 1 | 2011 | 2011-01-05 | 1 | 2 | 0:15 | N | LZ_CPS | LZ | 20.19 | 5.66 | 48.2492 | 0
378 | 1 | 2011 | 2011-01-05 | 1 | 3 | 0:30 | N | LZ_CPS | LZ | 19.26 | 5.66 | 48.2492 | 0
379 | 1 | 2011 | 2011-01-05 | 1 | 4 | 0:45 | N | LZ_CPS | LZ | 19.85 | 5.66 | 48.2492 | 0
380 | 1 | 2011 | 2011-01-01 | 2 | 1 | 1:00 | N | LZ_CPS | LZ | 22.67 | 5.66 | 48.2492 | 0
381 | 1 | 2011 | 2011-01-05 | 2 | 2 | 1:15 | N | LZ_CPS | LZ | 19.87 | 5.66 | 48.2492 | 0
382 | 1 | 2011 | 2011-01-05 | 2 | 3 | 1:30 | N | LZ_CPS | LZ | 19.22 | 5.66 | 48.2492 | 0
383 | 1 | 2011 | 2011-01-05 | 2 | 4 | 1:45 | N | LZ_CPS | LZ | 18.77 | 5.66 | 48.2492 | 0
384 | 1 | 2011 | 2011-01-05 | 3 | 1 | 2:00 | N | LZ_CPS | LZ | 18.7 | 5.66 | 48.2492 | 0
385 | 1 | 2011 | 2011-01-05 | 3 | 2 | 2:15 | N | LZ_CPS | LZ | 18.44 | 5.66 | 48.2492 | 0
386 | 1 | 2011 | 2011-01-05 | 3 | 3 | 2:30 | N | LZ_CPS | LZ | 18.06 | 5.66 | 48.2492 | 0
387 | 1 | 2011 | 2011-01-05 | 3 | 4 | 2:45 | N | LZ_CPS | LZ | 18.32 | 5.66 | 48.2492 | 0
388 | 1 | 2011 | 2011-01-05 | 4 | 1 | 3:00 | N | LZ_CPS | LZ | 18.41 | 5.66 | 48.2492 | 0
389 | 1 | 2011 | 2011-01-05 | 4 | 2 | 3:15 | N | LZ_CPS | LZ | 18.73 | 5.66 | 48.2492 | 0
390 | 1 | 2011 | 2011-01-05 | 4 | 3 | 3:30 | N | LZ_CPS | LZ | 19.26 | 5.66 | 48.2492 | 0
391 | 1 | 2011 | 2011-01-05 | 4 | 4 | 3:45 | N | LZ_CPS | LZ | 19.43 | 5.66 | 48.2492 | 0
392 | 1 | 2011 | 2011-01-05 | 5 | 1 | 4:00 | N | LZ_CPS | LZ | 20.97 | 5.66 | 48.2492 | 0
393 | 1 | 2011 | 2011-01-05 | 5 | 2 | 4:15 | N | LZ_CPS | LZ | 21.21 | 5.66 | 48.2492 | 0
394 | 1 | 2011 | 2011-01-05 | 5 | 3 | 4:30 | N | LZ_CPS | LZ | 21.08 | 5.66 | 48.2492 | 0
395 | 1 | 2011 | 2011-01-05 | 5 | 4 | 4:45 | N | LZ_CPS | LZ | 21.56 | 5.66 | 48.2492 | 0
396 | 1 | 2011 | 2011-01-05 | 6 | 1 | 5:00 | N | LZ_CPS | LZ | 21.59 | 5.66 | 48.2492 | 0
397 | 1 | 2011 | 2011-01-05 | 6 | 2 | 5:15 | N | LZ_CPS | LZ | 22.33 | 5.66 | 48.2492 | 0
398 | 1 | 2011 | 2011-01-05 | 6 | 3 | 5:30 | N | LZ_CPS | LZ | 25.19 | 5.66 | 48.2492 | 0
399 | 1 | 2011 | 2011-01-05 | 6 | 4 | 5:45 | N | LZ_CPS | LZ | 25.55 | 5.66 | 48.2492 | 0
400 | 1 | 2011 | 2011-01-05 | 7 | 1 | 6:00 | N | LZ_CPS | LZ | 28.81 | 5.66 | 48.2492 | 0
401 | 1 | 2011 | 2011-01-05 | 7 | 2 | 6:15 | N | LZ_CPS | LZ | 32.91 | 5.66 | 48.2492 | 0
402 | 1 | 2011 | 2011-01-05 | 7 | 3 | 6:30 | N | LZ_CPS | LZ | 61.63 | 5.66 | 48.2492 | 1
403 | 1 | 2011 | 2011-01-05 | 7 | 4 | 6:45 | N | LZ_CPS | LZ | 1560.06 | 5.66 | 48.2492 | 1
404 | 1 | 2011 | 2011-01-05 | 8 | 1 | 7:00 | N | LZ_CPS | LZ | 753.77 | 5.66 | 48.2492 | 1
405 | 1 | 2011 | 2011-01-05 | 8 | 2 | 7:15 | N | LZ_CPS | LZ | 114.93 | 5.66 | 48.2492 | 1
406 | 1 | 2011 | 2011-01-05 | 8 | 3 | 7:30 | N | LZ_CPS | LZ | 37.15 | 5.66 | 48.2492 | 0
407 | 1 | 2011 | 2011-01-05 | 8 | 4 | 7:45 | N | LZ_CPS | LZ | 32.52 | 5.66 | 48.2492 | 0
408 | 1 | 2011 | 2011-01-05 | 9 | 1 | 8:00 | N | LZ_CPS | LZ | 31.6 | 5.66 | 48.2492 | 0
410 | 1 | 2011 | 2011-01-05 | 9 | 3 | 8:15 | N | LZ_CPS | LZ | 31.56 | 5.66 | 48.2492 | 0
411 | 1 | 2011 | 2011-01-05 | 9 | 4 | 8:30 | N | LZ_CPS | LZ | 33.73 | 5.66 | 48.2492 | 0
412 | 1 | 2011 | 2011-01-05 | 10 | 1 | 8:45 | N | LZ_CPS | LZ | 34.47 | 5.66 | 48.2492 | 0
413 | 1 | 2011 | 2011-01-05 | 10 | 2 | 9:00 | N | LZ_CPS | LZ | 35.26 | 5.66 | 48.2492 | 0
414 | 1 | 2011 | 2011-01-05 | 10 | 3 | 9:15 | N | LZ_CPS | LZ | 38.85 | 5.66 | 48.2492 | 0
415 | 1 | 2011 | 2011-01-05 | 10 | 4 | 9:30 | N | LZ_CPS | LZ | 40.36 | 5.66 | 48.2492 | 0
416 | 1 | 2011 | 2011-01-05 | 11 | 1 | 9:45 | N | LZ_CPS | LZ | 45.56 | 5.66 | 48.2492 | 0
417 | 1 | 2011 | 2011-01-05 | 11 | 2 | 10:00 | N | LZ_CPS | LZ | 57.62 | 5.66 | 48.2492 | 1
418 | 1 | 2011 | 2011-01-05 | 11 | 3 | 10:15 | N | LZ_CPS | LZ | 44.31 | 5.66 | 48.2492 | 0
419 | 1 | 2011 | 2011-01-05 | 11 | 4 | 10:30 | N | LZ_CPS | LZ | 51.72 | 5.66 | 48.2492 | 1
420 | 1 | 2011 | 2011-01-05 | 12 | 1 | 10:45 | N | LZ_CPS | LZ | 50.57 | 5.66 | 48.2492 | 1
421 | 1 | 2011 | 2011-01-05 | 12 | 2 | 11:00 | N | LZ_CPS | LZ | 44.46 | 5.66 | 48.2492 | 0
422 | 1 | 2011 | 2011-01-05 | 12 | 3 | 11:15 | N | LZ_CPS | LZ | 36.9 | 5.66 | 48.2492 | 0
423 | 1 | 2011 | 2011-01-05 | 12 | 4 | 11:30 | N | LZ_CPS | LZ | 33.97 | 5.66 | 48.2492 | 0
424 | 1 | 2011 | 2011-01-05 | 13 | 1 | 11:45 | N | LZ_CPS | LZ | 33.56 | 5.66 | 48.2492 | 0
425 | 1 | 2011 | 2011-01-05 | 13 | 2 | 12:00 | N | LZ_CPS | LZ | 33.99 | 5.66 | 48.2492 | 0
426 | 1 | 2011 | 2011-01-05 | 13 | 3 | 12:15 | N | LZ_CPS | LZ | 34 | 5.66 | 48.2492 | 0
427 | 1 | 2011 | 2011-01-05 | 13 | 4 | 12:30 | N | LZ_CPS | LZ | 31.84 | 5.66 | 48.2492 | 0
428 | 1 | 2011 | 2011-01-05 | 14 | 1 | 12:45 | N | LZ_CPS | LZ | 30.64 | 5.66 | 48.2492 | 0
429 | 1 | 2011 | 2011-01-05 | 14 | 2 | 13:00 | N | LZ_CPS | LZ | 30.69 | 5.66 | 48.2492 | 0
430 | 1 | 2011 | 2011-01-05 | 14 | 3 | 13:15 | N | LZ_CPS | LZ | 30.75 | 5.66 | 48.2492 | 0
431 | 1 | 2011 | 2011-01-05 | 14 | 4 | 13:30 | N | LZ_CPS | LZ | 30.75 | 5.66 | 48.2492 | 0
432 | 1 | 2011 | 2011-01-05 | 15 | 1 | 13:45 | N | LZ_CPS | LZ | 30.31 | 5.66 | 48.2492 | 0
14:00